## Slide 1
Additional Analysis and Documentation of the UTAH-TPC
and
Variants

## Slide 2
Cross Section Cut
Side View
Side Tilt View
A
B
C
E
F
D
A – Collection Plane B – Electron Field Rings C – Electron Drift Region D – High Density Polyethylene
E – Hexagon Mesh Grid Field Rings F – Buffer Region

## Slide 3
TPC Regions of Interest for Simulation
Charge Drift Region
Buffer Region

## Slide 4
TPC Field Configurations
HV +
HV -
Positive Voltage Bias
Negative Voltage Bias
Force on Positive Charges
Force on Negative Charges
Legend
V = 0
V = 0
V = 0
V = 0
Enlarged Arrows to express area of effect

## Slide 5
Cage Potential Circuit Diagram
2D Render of PCB Board
Static Field Cage Calculations
Boundaries
Currents
Voltage Drop per Resistor
Voltage Drop / mm
From Original Documentation

## Slide 6
Excel Sheet Calculator
COMSOL Simulation
Expected Drift Directions from Simulation Results
Changing the green box in the excel sheet will update all values. All other values are constant or set.
B4
B3
B2
B1
HV
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
Enlarged Arrows to express area of effect
Field Voltage Drop
System Current
Field Section Currents
Number of Static Rings per Area
Resistor Value
Voltage In
Ring Bias

## Slide 7
COMSOL Application for Field Cage Analysis of Real Model
The solutions to the UTAH TPC Electric Field have been set up in COMSOL. High Voltage can be adjusted for desired input voltage, then it can be solved using the [COMPUTE] button Field Values can be exported as a .txt document using the [EXPORT DATA] button ElectricField.UTAHTPC.mph can be used for initial analysis for field values. Model contains only the “central” system and none of the mechanical supports.

## Slide 8
Reality
UTAH-TPC Model
UTAH-TPC Pixel Simulation Model
Current
Future

## Slide 9
Neglected Geometries for Computation on Existing Models
PEEK Support rods and G10 legs are included in the COMSOL model, but for this computation they have been removed. These components provide are placed for structural support; material is a dielectric for We are interested in the area inside, therefore, to reduce computation times for initial results they have been removed. They remain in the file but are removed using the [Delete Entities ‘del 1’ ] function named “Negligible Geometries.” These components can be added if desired in the computation, but a custom finer mesh must be defined to create no overlap between curved surfaces.

## Slide 10
Current UTAH-TPC Model
Future UTAH-TPC Pixel Model
More Information of the System available in the original documentation

## Slide 11
Parameters Determinable in UTAH-TPC Application
Collection Methods
Rings and Frame Biases
Collection Planes
Includes Enclosure (Not Displayed)
1
2

## Slide 12
Current UTAH-TPC Simulation Model
Collection Plane
Models Available
Enclosed TPC: [Enclosed.TPC.Single.Channel.step]
1

## Slide 13
Electric Field Boundaries
B4
B3
B2
B1
HV
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
Frame
Frame
Collection Plane
Collection Anode
1

## Slide 14
Future UTAH-TPC Simulation Model
Pixel Plane and Mesh
Concept of a pixel design with a biased mesh. Higher density of pixels increase resolution. Biased Mesh is used to focus charged particles onto pixels.
Models Available
Exposed TPC : [ Exposed.TPC.step ]
Enclosed TPC : [ Enclosed.TPC.step ]
2

## Slide 15
Electric Field Boundaries
B4
B3
B2
B1
HV
D1
D2
D3
D4
D5
D6
D7
D8
D9
D10
D11
Frame
Frame
Pixel / Mesh
Mesh
Pixel
2

## Slide 16
Voltage (V)
System
Field Cage
Pixel Termination
2